## Metrics
GridPP Tier-2 Quarterly Report | [6 empty] | OK
Tier-2 | Scotgrid | [5 empty] | Close to target
Quarter | Q216 | [5 empty] | Not OK
Reported by | Gareth Roy | [5 empty] | Not yet able to be measured
Suspended
Metric no. | Description | Target | DURHAM |  |  | ECDF |  |  | GLASGOW |  |  | 0 |  |  | 0 |  |  | 0 |  |  | Overall |  |  | Comments
|  |  | Q-2 | Q-1 | Current | Q-2 | Q-1 | Current | Q-2 | Q-1 | Current | Q-2 | Q-1 | Current | Q-2 | Q-1 | Current | Q-2 | Q-1 | Current | Q-2 | Q-1 | Current
.x.1 | % of promised (by that time) disk available to GridPP | 100% | 191% | 191% | 616.5% | 358% | 358% | 209.8% | 308% | 308% | 176.4% |  |  | #N/A |  |  | #N/A |  |  | #N/A | 112% | 200% | 192.5%
.x.2 | % of promised (by that time) CPU available | 100% | 1052% | 1818% | 2589% | 469% | 469% | 215% | 559% | 559% | 559% |  |  | #N/A |  |  | #N/A |  |  | #N/A | 559% | 472% | 500.9%
.x.3 | Average NAGIOS (SLL page) availability performance over the last quarter | 95% averaged over sites in Tier-2 | 100% | 100% | 100% | 98% | 100% | 97% | 100% | 100% | 100% | [9 empty] | 100% | 100% | 98.5%
.x.4 | Average NAGIOS (SLL page) reliability performance over the last quarter | 95% averaged over sites in Tier-2 | 100% | 100% | 100% | 98% | 100% | 97% | 100% | 100% | 100% | [9 empty] | 100% | 100% | 98.5%
.x.7 | Approx. CPU utilisation (wall clock time) | 50% | 71% | 65% | 68.28% | 33% | 25% | 65.52% | 73% | 66% | 71% |  |  | #N/A |  |  | #N/A |  |  | #N/A | 66% | 40% | 69.35%
.x.8 | Approx. CPU utilisation (CPU time) | 50% | 58% | 51% | 55.24% | 27% | 20% | 53.19% | 61% | 51% | 48.29% |  |  | #N/A |  |  | #N/A |  |  | #N/A | 47% | 36% | 51.5% | Low CPU Utilisation due to heacy Atlas IO workloads.
.x.3/.4 | http://pprc.qmul.ac.uk/~lloyd/gridpp/nagios_plots.html
.x.5 | http://pprc.qmul.ac.uk/~lloyd/gridpp/uktest.html

## Resources
GridPP Tier-2 Quarterly Report
Tier-2 | Scotgrid
Quarter | Q216
Reported by | Gareth Roy
Current Site Status Data
Site | Service Nodes | Worker Nodes |  | Local Network Connectivity | Site Connectivity | SRM |  | CPU hours (HEPSPEC06 ) | [5 empty] | Wall clock hours (Normalised elapsed time * number Processors HS06 hours)
DURHAM | EMI3 | EMI3 |  | 4Gb/s | 4Gb/s | DPM |  | Site | 2016-04-01 | 2016-05-01 | 2016-06-01 | Total |  | Site | 2016-04-01 | 2016-05-01 | 2016-06-01 | Total
ECDF | EMI3 | EMI3 |  | 10Gb/s | 10Gb/s | DPM |  | DURHAM | 12510148 | 13176118 | 16605359 | 42291625 |  | DURHAM | 18107089 | 17576576 | 16591739 | 52275404
GLASGOW | EMI3 | EMI3 |  | 10Gb/s | 10Gb/s | DPM |  | ECDF | 5034791 | 3731695 | 2850598 | 11617084 |  | ECDF | 5818961 | 4830899 | 3659801 | 14309661
[8 empty] | GLASGOW | 12874104 | 14679022 | 21002548 | 48555674 |  | GLASGOW | 22190840 | 23776929 | 25425107 | 71392876
[8 empty] | 0 |  |  |  | 0 |  | 0 |  |  |  | 0
[8 empty] | 0 |  |  |  | 0 |  | 0 |  |  |  | 0
[8 empty] | 0 |  |  |  | 0 |  | 0 |  |  |  | 0
[12 empty] | 0 | [5 empty] | 0
[8 empty] | Total CPU hrs | 30419043 | 31586835 | 40458505 | 102464383 |  | Total | 46116890 | 46184404 | 45676647 | 137977941
Current Resources Available
| Total available to GridPP |  | Promised (GridPP MoU 2016) |  | CPU calculations
Site | HEPSPEC06 | Storage (TB) | CPU (HS06) | Storage (TB) | % of MoU CPU | % of MoU Disk | % CPU of Tier-2 | % Storage of Tier-2 | HS06 CPU hours from accounting | % of T2 CPU hours provided for the quarter | No of hours per quarter approx | Multiplied by HS06 at site | Utilisation of site CPU hours | Utilisation of site Wall clock hours
DURHAM | 35054 | 240.417 | 1354 | 39 | 2589% | 616.5% | 38.48% | 5.688% | 42291625 | 41.27% | 2184 | 76557936 | 55.24% | 68.28%
ECDF | 10000 | 1133 | 4652 | 540 | 215% | 209.8% | 10.98% | 26.81% | 11617084 | 11.34% | 2184 | 21840000 | 53.19% | 65.52%
GLASGOW | 46043 | 2853 | 12181 | 1617 | 378% | 176.4% | 50.54% | 67.5% | 48555674 | 47.39% | 2184 | 100557912 | 48.29% | 71%
Totals | 91097 | 4226.417 | 18187 | 2196 | 500.9% | 192.5% | 100% | 100% | 102464383 | 100% | 2184 | 198955848 | 51.5% | 69.35%
Please check the figures in the Yellow
| MoU figures taken from 2016 spreadsheet | [8 empty] | Q1 | 2160/2184 (if leap year)
[10 empty] | Q2 | 2184
Site | Rebus |  |  | Read the SI2K from gstat | [5 empty] | Q3 | 2208
| cpu cores | HS06 | TB | SI2K | [5 empty] | Q4 | 2208
DURHAM | 264 | 35054 | 240.417 | 2419200 | DURHAM
ECDF | 568 | 109000 | 1133 | 10812256 | ECDF
GLASGOW | 573 | 46043 | 2853 | 8469816 | GLASGOW
Totals
Colour coding is green for within 10% and orange within 20%
Gstat currently shows KSI2k so this is converted to HS06 above

## VOs
GridPP Tier-2 Quarterly Report
Tier-2 | ScotGrid
Quarter | Q216
Reported by | Gareth Roy
Vos Supported
Supported VOs
Site | alice | atlas | babar | biomed | calice | camont | cdf | cedar | cms | dteam | dzero | epic | enmr.eu | euindia | fusion | geant4 | gridpp | hone | LZ | lsst | ilc | lhcb | mice | magic | minos | na48 | ngs | ops | pheno | planck | ralpp | sixt | southgrid | superb | supernemo | t2k | totalep | na62 | zeus | Total
DURHAM | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 13
ECDF | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9
GLASGOW | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 12
0
0
0
0
0
Total | 0 | 3 | 0 | 0 | 0 | 1 | 1 | 0 | 3 | 3 | 1 | 2 | 1 | 0 | 0 | 0 | 3 | 0 | 1 | 1 | 2 | 3 | 1 | 0 | 0 | 0 | 0 | 3 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 34
Site | atlas | biomed | camont | cdf | cms | compchem | dames.org.uk | dteam | dzero | enmr.eu | enroller.org.uk | gridpp | hone | ilc | ildg | lhcb | LZ | mice | monitoring.ngs.ac.uk | na62 | ngs.ac.uk | ops | pheno | planck | sixt | supernemo.vo.eu-egee.org | totalep | ukqcd.vo.gridpp.ac.uk | vo.nanocmos.ac.uk | vo.optics.ac.uk | vo.panda.gsi.de | vo.scotgrid.ac.uk | vo.ssp.ac.uk | zeus | total | fraction used | Site percentage non LHC
DURHAM | 240 | 0.1 |  |  |  | 0 | [16 empty] | 7.67 | [11 empty] | 247.77 | 5.759% | 3.136%
ECDF | 1133 | [14 empty] | 2 | 50 |  |  |  |  | 0 | [12 empty] | 1185 | 27.54% | 0%
GLASGOW | 2853 | 1.2 | 0 | 0 | 1.01 |  | 0 | 2.89 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0 | 0 | 0 | 1.39 | 0 | 1.52 | 0 | 0.002 | 6.91 | 0 | 0 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.004 | 2869.428 | 66.7% | 0.5373%
Total | 4226 | 1.3 | 0 | 0 | 1.01 | 0 | 0 | 2.89 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0 | 2 | 0 | 1.39 | 0 | 1.52 | 0 | 0.002 | 14.58 | 0 | 0 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.004 | 4302.198 | 100% | 1.701%

## Manpower
GridPP Tier-2 Quarterly Report
Tier-2 | ScotGrid
Quarter | Q216
Reported by | Gareth Roy
Effort (FTE)
|  | GridPP Funded |  |  | Unfunded
Site | Name | Month 1 | Month 2 | Month 3 | Month 1 | Month 2 | Month 3
Durham | Oliver Smith | 0 | 0 | 0 | 0 | 0 | 0
Edinburgh | A Washbrook | 0.5 | 0.5 | 0.5 | 0.3 | 0.3 | 0.3
Edinburgh | M. Ebert | 0 | 0 | 0 | 0.3 | 0.3 | 0.3
Edinburgh | ECDF Systems Team | 0 | 0 | 0 | 0.2 | 0.2 | 0.2
Glasgow | D Crooks | 1 | 1 | 1 | 0 | 0 | 0
Glasgow | S Skipsey | 0 | 0 | 0 | 0 | 0 | 0
Glasgow | G Roy | 1 | 1 | 1 | 0 | 0 | 0
Glasgow | G. Stewart | 0.2 | 0.2 | 0.2 | 0 | 0 | 0
Glasgow/NA62 | D. Protopopescu | 0.3 | 0.3 | 0.3 | 0 | 0 | 0
Total |  | 3 | 3 | 3 | 0.8 | 0.8 | 0.8
EGI Funded Posts (FTE)
|  | EGI Funded |  |  | Unfunded
Site | Name | Month 1 | Month 2 | Month 3 | Month 1 | Month 2 | Month 3

## Narrative
GridPP Quarterly Report
Area | ScotGrid
Quarter | Q216
Reported by | Gareth Roy
Progress over last Quarter
Site/area | Successes |  | Problems/Issues
DURHAM | Replaced Virtual Hosts with new hardware. Virtual CE and SE moved to new physical hardware improving performance. Installed an additional rack with power, network and additional nodes to allow for future growth |  | Staff loss reduced total time available to spend on Grid projects.
ECDF | Running ATLAS and LHCb production jobs on SL7 worker nodes on the new Eddie MK3 cluster. Finalised migration of our storage to ZFS |  | Still running on the now unsupported Eddie Mk2 cluster whilst workload scheduling is tuned on the new Mk3 cluster. Loss of cluster access would result in greatly reduced service until full migration is completed. We have had some incidents over the quarter with older equipment that have resulted in a limited loss of service.
GLASGOW | Sucessfully decommisioned WMS at Glasgow, along with installation and testing of new CPU and Storage. Nearly all site hardware has been migrated to Cenots6/7 with a few disk pool nodes remaining to be upgraded. Additional funding obtained from University for High memory nodes to be purchased. |  | Decommsioning of old hardware slowed due to space constrainst in data room, and building. A large number of high IO loads from ATLAS led to low/poor efficiency at the site this has recovered in June of Q2.
0
0
Note:To get multiple lines per box use Alt-Return
General Risks
Risk |  | Mitigating Action
Staff loss. Loss of expertise. |  | Documentation for each site, including install and maintenance methods.
Institute or area specific risks
Risk |  | Mitigating Action
ECDF: Remaining tasks of the migration to new ECDF cluster do not go to plan |  | The ECDF systems team will not close down our access to the present cluster whilst any issues remain. We agreed on a two week burn-in window where we have access to both clusters before a final sign off. However any extension will not be indefinite due to hardware retirement and power considerations at the Advanced Computing Facility.
Glasgow: Air Condition/power issues leading to damaged equipment |  | Working with E&B to supply new data facility.
Objectives and Deliverables for Last Quarter
Objective/Deliverable |  | Due Date |  | Metric/Output
Glasgow: Retire WMS |  | 31-Apr-16 |  | All WMS now decomissioned at Glasgow Site
Glasgow: Upgrade DPM to Centos6 |  | 31-Apr-16 |  | Complete for the head node with the last few disk servers being migrated early this quarter (planned for end of July)
Glasgow: Install Tranche Hardware |  | 31-Apr-16 |  | Hardware commissioned and in place
Durham:Replacing virtual hosts which host grid services. |  | 2016-06-30 |  | Hosts replaced.
Durham: Replacing virtual SE and one virtual CE with a physical hosts to improve performance |  | 2016-06-30 |  | SE and CE moved to new hardware.
Durham: Installing additional new nodes |  | 2016-06-30 |  | New nodes provisioned and installed
ECDF: Virtualisation of Middle ware services |  | 2016-06-30 |  | Deployed new server hypervisors and performing feasibility tests on software to enable high availability of virtualised instances (e.g. DRBD, Pacemaker, Corosync)
ECDF: Eddie Mk3 migration |  | 2016-06-01 |  | Almost complete, we are running a burn-in phase to flush out any remaining issues
ECDF: RDF Storage Replacement |  | 2016-07-01 |  | No progress. This task is dependent on our new middleware platform being available (see Virtualisation of Middleware services)
ECDF: Optimisation for LHC workloads on HPC |  | 2016-09-01 |  | Optimisation studies underway by our summer student
ECDF: Data processing for EUCLID |  | 2016-10-01 |  | No update (waiting for further input from EUCLID)
Objectives and Deliverables for Next Quarter
Objective/Deliverable |  | Due Date |  | Metric/Output
Glasgow: Complete Centos6 Migration of DPM Pool Nodes |  | 2016-09-01 |  | All Pool nodes on Centos 6
Glasgow: Contribute to and Track work of the SOC WG |  | 2016-09-01 |  | Prepare contribution to be presented at WLCG workshop - October 2016
Glasgow: Extend low level data collecion to allow scaling to entire cluster |  | 2016-09-01 |  | Creation of new metric gathering tool which does not rely on polling of condor collector
Durham: Procurement and installation of additional nodes. |  | 2016-09-01 |  | Nodes installed/CPU capacity increased
Durham: Deploy production OpenStack installation and begin testing production grid services on OpenStack. |  | 2016-09-01 |  | OpenStack deployed and some services running
ECDF: Virtualisation of Middle ware services |  | 2016-09-01 |  | HA solution installed, Middleware services migrated to new platform
ECDF: Eddie Mk3 migration |  | 2016-08-31 |  | All workload moved to new cluster
ECDF: RDF Storage Replacement |  | 2016-09-01 |  | Move existing RDF storage into production DPM, start scaling tests on remainder of RDF storage available
ECDF: Optimisation for LHC workloads on HPC |  | 2016-08-31 |  | Complete and write-up findings for optimisation studies
ECDF: intensive ZFS tests (for CHEP conference submission) |  | 31-Sep-2016 |  | Test of deduplication and different compression modes for different VO data and tests vs other filesystems
ECDF: Evaluation of plain xrootd multi VO installation possibilities |  | 31-Sep-2016 |  | Should give an idea how an plain xrootd side installation could like for a future T2D that supports multiple VOs
ECDF: MISP deployment |  | 31-Sep-2016 |  | Install MISP tool on development server and work with RAL and Glasgow teams on how to build a test content sharing network
ECDF: Data processing for EUCLID |  | 31-Sep-2016 |  | Pursue collaboration opportunities with EUCLID ROE staff
EVAL Notes
Publications |  | Date |  | Notes
Collaborations |  | Date |  | Notes
LSST |  | Ongoing |  | Marcus Ebert 50% LUSC DAC Team.
HyperK |  | Ongoing |  | ECDF aiding in moving workloads to the Grid.
Further Funding (eg external grants) |  | Date |  | Notes
N/A
Destination of ex staff and recruitment issues |  | Date |  | Notes
Dissemmination events |  | Date |  | Notes
GDB |  | 2016-05-11 |  | David Crooks - Security Operations Centre Update (with Liviu Valsan)
Security Operations Centre working group - HEPSYSMAN |  | 2016-06-22 |  | David Crooks
Glasgow Site Report - HEPSYSMAN |  | 2016-06-22 |  | David Crooks
The [Glasgow] A/C Failure Experience - HEPSYSMAN |  | 2016-06-23 |  | David Crooks
Edinburgh Site Report - HEPSYSMAN |  | 2016-06-22 |  | Marcus Ebert
ZFS Experience at Edinburgh - HEPSYSMAN |  | 2016-06-23 |  | Marcus Ebert
ATLAS summary - Openlab/Intel Workshop on Code Optimisation |  | 5-6/4/2016 |  | Andrew Washbrook
Intellectual Property |  | Date |  | Notes
Spin out companies |  | Date |  | Notes
N/A
Roles held on committees and boards |  | Date |  | Notes
WLCG Cloud Traceability TF |  | Present |  | David Crooks
SOC Working Group |  | Present |  | co-lead by David Crooks
UK Members of DPM Collaboration |  | Present |  | UK Data Storage (S. Skipsey)
HTTP Deployment Working Group |  | Present |  | S. Skipsey
Member of Tier-2 Evolution Working Group |  | Present |  | S.Skipsey
Co-chair of ATLAS future software and technology forum, |  | Present |  | Andrew Washbrook
Other outputs and Knowledge |  | Date |  | Notes
N/A
N/A